## About
CCaMC BAU Construction Cost per Unit Capacity
CCaMC Annual Fixed O&M Cost per Unit Capacity
CCaMC Variable O&M Cost per Unit Elec Output
CCaMC BAU Soft Costs per Unit Capacity
Sources: | Capital Costs (Except Wind and Solar), Fixed O&M, Variable O&M | 2018 Onshore Wind Capital Cost
| Energy Information Administration | Lawrence Berkeley National Laboratory
| 2015, 2019, 2020 | 2018
| Assumptions to Annual Energy Outlook 2015, 2019 | 2018 Wind Technologies Market Report
| https://www.eia.gov/forecasts/aeo/assumptions/pdf/electricity.pdf | https://emp.lbl.gov/sites/default/files/wtmr_final_for_posting_8-9-19.pdf
| Electricity Market Module, Table 2 (AEO 2015, 2019) or Table 3 (AEO 2020) | Page x, Cost Trends, bullet point 2
| Hard Coal to Lignite Scaling Factors | 2018 Solar and Offshore Wind Capital Cost, Cost Improvement Rates
| Sargent and Lundy | National Renewable Energy Lab
| 2009 | 2020
| New Coal-Fired Power Plant Performance and Cost Estimates | Annual Technology Baseline (ATB) Spreadsheet - 2020 Final
| https://www.epa.gov/sites/production/files/2015-08/documents/coalperform.pdf | https://atb.nrel.gov/
Appendix E: SC and IGCC Power Plant Performance and Cost Estimate Spreadsheets, p.75
| Soft Cost Share for Onshore Wind | Soft Cost Share for Offshore Wind
| U.S. Department of Energy | NREL
| 2015 | 2015
| Wind Vision: A New Era for Wind Power in the United States | Offshore Wind Balance-of-System Cost Modeling
| https://www.energy.gov/sites/prod/files/wv_chapter2_wind_power_in_the_united_states.pdf | https://www.nrel.gov/docs/fy15osti/64789.pdf
Page 13, Figure 2-8
Soft Cost Share for Solar PV
NREL
2018
U.S. Solar Photovoltaic System Cost Benchmark: Q1 2018
https://www.nrel.gov/docs/fy17osti/68925.pdf
Page viii, Figure ES-2
Notes:
Except for wind and solar PV, our general approach is to take start year capital costs from the EIA and
cause them to decline at the same rate as costs declined in projections in the NREL
Annual Technology Baseline.
Endogenous Learning
Onshore wind, offshore wind, and solar PV may optionally be handled differently in the model,
relying on endogenous, capacity-based learning curves to determine cost declines.
To use endogenous learning, you must specify a cost for the first simulated year in sheet
CCaMC-BCCpUC and leave the costs for all subsequent years set to zero.
A cost of zero for onshore wind, offshore wind, or solar PV is a flag to the model to use endogenous
learning. If a non-zero cost is provided in this sheet for a year after the first year, the model will
use the cost specified here, rather than a value calculated via endogenous learning.
Soft Costs
Endogenous learning only affects the hard costs of the system. To affect soft costs, enter
time-series data in CCaMC-BSCpUC. This affects the BAU case. Note that there also
exists a policy that lowers soft costs relative to the BAU.
Since soft costs only affect endogenous learning calculations, and endogenous learning is
only used for onshore wind, offshore wind, and solar PV, these are the only power plant types
for which soft cost data are used.
Additional Notes
For the U.S. EPA, we do not use EIA for the start year solar and wind costs,
as EIA's numbers are higher than what was actually observed, so we use other sources,
specified above.
For coal, we use values for a coal plant that features carbon capture and sequestration (CCS),
because the EPA's Aug 2015 rule requires new coal plants to achieve CO2 emissions no higher than
1,400 lb CO2/MWh, which the EPA indicates is achievable by a "new highly efficient supercritical
pulverized coal (SCPC) unit… capturing about 20 percent of its carbon pollution."
See the following EPA factsheet for details (page 3):
https://www.epa.gov/sites/production/files/2015-11/documents/fs-cps-overview.pdf
We assume EPA's estimates are for bituminous and PRB (Powder River Basin) coal plants, which are
by far the most common in the U.S. We scale our coal values from EIA by multiplying the values
by a scaling factor for average bituminous/PRB plants to lignite plants using a study from Sargent and Lundy.
Municpal Solid Waste (MSW) has its own start year costs, but no cost improvement rate data,
so we use the cost improvement rates for biomass power plants.
Currency Year Adjustment
Our EIA source uses 2013 dollars.
The SEIA and LBNL sources for solar and wind prices don't specify the year of their currency,
so we assume they are 2018 dollars.
We adjust 2013 dollars to 2012 dollars using the following conversion factor:
0.986
We adjust 2018 dollars to 2012 dollars using the following conversion factor:
0.9143
We adjust 2019 dollars to 2012 dollars using the following conversion factor:
0.898
See "cpi.xlsx" in the InputData folder for source information.

## EIA Costs
Model Subscript | Model Power Plant Quality | EIA Technology Name | Overnight Capital Cost ($/kW) | Variable O&M ($/MWh) | Fixed O&M ($/kW-yr) | Currency Year | Source | Notes
hard coal | preexisting retiring | Scrubbed Coal | 2917 | 4.47 | 31.16 | 2013 | AEO 2015 | Intentionally keeping older-year source for preexisting retiring plants
hard coal | newly built | Coal with 30% CCS | 4652 | 7.05 | 54.07 | 2019 | AEO 2020
natural gas nonpeaker | preexisting retiring | Conventional Gas/Oil Combined Cycle | 999 | 3.61 | 11.33 | 2018 | AEO 2019 | Intentionally keeping older-year source for preexisting retiring plants
natural gas nonpeaker | newly built | Combined Cycle - Single Shaft | 1079 | 2.54 | 14.04 | 2019 | AEO 2020
natural gas peaker | preexisting retiring | Conventional Combustion Turbine | 1126 | 3.61 | 18.03 | 2018 | AEO 2019 | Intentionally keeping older-year source for preexisting retiring plants
natural gas peaker | newly built | Conbustion turbine - industrial frame | 710 | 4.48 | 6.97 | 2019 | AEO 2020
nuclear | both | Advanced Nuclear | 6317 | 2.36 | 121.13 | 2019 | AEO 2020
biomass | both | Biomass | 4104 | 4.81 | 125.19 | 2019 | AEO 2020
geothermal | both | Geothermal | 2680 | 1.16 | 113.29 | 2019 | AEO 2020
hydro | both | Conventional Hydropower | 2752 | 1.39 | 41.63 | 2019 | AEO 2020
onshore wind | both | Onshore Wind | 1319 | 0 | 26.22 | 2019 | AEO 2020
offshore wind | both | Offshore Wind | 5446 | 0 | 109.54 | 2019 | AEO 2020
solar thermal | both | Solar Thermal | 7191 | 0 | 85.03 | 2019 | AEO 2020
solar PV | both | Solar Photovoltaic | 1331 | 0 | 15.19 | 2019 | AEO 2020
municipal solid waste | both | MSW-landfill gas | 1557 | 6.17 | 20.02 | 2019 | AEO 2020
We do not use the values in red because they exceed real-world observed costs.
We use other sources for wind and solar PV capital costs.

## Start Year Wind and Solar
Installed Cost of Wind ($/kW)
Year | Cost in Annual $ | Fixed O&M ($/kW-yr) | Variable O&M ($/MWh)
2019 | 1499.4538 | 43 | 0
Average Utility Scale Solar | Overnight Capital Cost ($/w-ac) | Fixed O&M ($/kW-yr) | Variable O&M ($/MWh)
Year | Cost in Annual $ | Cost in Annual $ | Cost in Annual $
2019 | 1.375 | 16 | 0
Average Offshore Wind Cost ($/kW)
Year | Cost in Annual $ | Fixed O&M ($/kW-yr) | Variable O&M ($/MWh)
2019 | 3425.9463 | 114.176 | 0
ATB Onshore Wind Data
| Overnight Capital Cost ($/kW) - Moderate | Fixed O&M | Variable O&M | Potential Wind Plant Capacity (GW)
Class 1 | 1643.064 | 43 | 0 | 153
Class 2 | 1517.8708 | 43 | 0 | 152
Class 3 | 1479.9121 | 43 | 0 | 304
Class 4 | 1468.3795 | 43 | 0 | 606
*We take a weighted average (based on potential capacity) of the first four classes of onshore wind
ATB Offshore Wind Data
| Overnight Capital Cost ($/kW) | Fixed O&M | Variable O&M | Potential Capacity (GW)
Class 1 - Offshore Fixed | 2625.9128 | 116 | 0 | 13.57 | 0
Class 2 - Offshore Fixed | 2633.956 | 229 | 0 | 13.57
Class 8 - Offshore Floating | 3810.0925 | 85 | 0 | 27.6
Class 9 - Offshore Floating | 3824.5452 | 86 | 0 | 27.6
*We take a weighted average (based on potential capacity) of the first two classes for both fixed and floating technologies

## Coal Cost Multipliers
|  | Supercritical | Supercritical | Supercritical | subCritical | subCritical | subCritical
Base set-up for meeting Target BACT | UNITS | 685MW - Supercritical PC, Bituminous | 685MW - Supercritical PC, Lignite | 685MW - Supercritical PC, PRB | 726 MW - IGCC, Bituminous | 711MW - IGCC, Lignite | 727MW - IGCC, PRB
limits for NOX & SO2
Capital costs | 1000
Direct & Indirect Costs $1000 | 1000 | 2217840 | 2461143 | 2090180 | 2800491 | 3433006 | 2848907
$/kW Capital Cost based on net | $/net-kw | 3641 | 4076 | 3393 | 4589 | 5763 | 4652
Capital Costs
Costs in year 2008 dollars | 1000 | 2217840 | 2461143 | 2090180 | 2800491 | 3433006 | 2848907
Fixed O&M Costs
Fixed O&M Costs | 1000 | 16571 | 16571 | 16571 | 29871 | 34299 | 30210
Variable O&M Costs ($/yr)
Limestone Reagent | 1000 | 2455 | 1276 | 0 | 0 | 0 | 0
Lime Reagent, dryFGD, MDEA,Catalysts | 1000 | 0 | 0 | 1174 | 1593 | 1415 | 1340
Activated Carbon | 1000 | 0 | 1751 | 1593 | 296 | 1068 | 296
Water | 1000 | 440 | 440 | 440 | 451 | 407 | 440
Bottom Ash Sale/Disposal | 1000 | 721 | 2740 | 473 | 0 | 0 | 0
Fly ash sale/Disposal | 1000 | 2877 | 10954 | 1884 | 0 | 0 | 0
Gypsum sale/Disposal | 1000 | 5051 | 2635 | 617 | 0 | 0 | 0
AC Waste Disposal | 1000 | 0 | 16 | 14 | 24 | 85 | 24
Ammonia | 1000 | 577 | 609 | 587 | 186 | 186 | 186
SCR-Catalyst Replacement | 1000 | 1153 | 1153 | 1153 | 399 | 399 | 399
Bags for Baghouse | 1000 | 367 | 415 | 378 | 33 | 61 | 42
SO2 Allowances | 1000 | 1080 | 913 | 880 | 191 | 189 | 184
NOx Allowances | 1000 | 3241 | 3422 | 3301 | 431 | 425 | 414
Other | 1000 | 2401 | 2380 | 2428 | 2272 | 2218 | 2280
Sulfur Sale | 1000 | N/A | N/A | N/A | 555 | 272 | 65
Total | 1000 | 20364 | 28705 | 14924 | 6430 | 6725 | 5668
Variable O&M Costs | $/MWh | 3.73 | 5.76 | 3.07 | 1.42 | 1.52 | 1.24
Total Non-Fuel O&M Cost | 1000 | 36935 | 45276 | 31495 | 36301 | 41023 | 35878
Total Non-Fuel O&M Cost | $/MWh | 7.69 | 9.51 | 6.48 | 7.99 | 9.25 | 7.87
multiplier
Capital Costs | 1.1589
Variable O&M Costs | 1.6941
Fixed O&M Costs | 1

## Cost Improvement
NREL Overnight Capital Costs
Model Electricity Source | NREL Electricity Source | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
coal | Coal-CCS 30%-AvgCF - Moderate | 4600.837 | 4583.644 | 4566.4509 | 4549.2579 | 4532.0648 | 4514.8718 | 4497.6787 | 4468.9694 | 4449.3382 | 4426.9786 | 4406.7527 | 4385.3433 | 4359.4827 | 4334.7565 | 4308.578 | 4281.7516 | 4259.5363 | 4236.0801 | 4206.7371 | 4183.5455 | 4158.7622 | 4130.7468 | 4101.9553 | 4080.3461 | 4053.1186 | 4028.6807 | 4004.0491 | 3981.6545 | 3952.0038 | 3927.5849 | 3902.9987 | 3878.3265 | 3820.3685
natural gas nonpeaker | Gas-CC-CCS-AvgCF - Moderate | 2665.8783 | 2626.9584 | 2588.0385 | 2549.1185 | 2510.1986 | 2471.2786 | 2414.3064 | 2373.9754 | 2345.7144 | 2316.0555 | 2293.3855 | 2275.1192 | 2253.5736 | 2233.7538 | 2213.2719 | 2191.2157 | 2172.492 | 2156.4741 | 2138.4596 | 2123.5741 | 2107.8787 | 2090.5465 | 2072.8266 | 2058.7362 | 2041.8098 | 2026.2897 | 2010.6707 | 1996.1729 | 1978.0386 | 1962.5254 | 1946.9278 | 1931.2867 | 1899.0978
hydro | NPD 1 - Moderate | 6383.3853 | 6383.3853 | 6383.3853 | 6383.3853 | 6383.3853 | 6383.3853 | 6383.3853 | 6383.3853 | 6383.3853 | 6383.3853 | 6383.3853 | 6383.3853 | 6383.3853 | 6383.3853 | 6383.3853 | 6383.3853 | 6383.3853 | 6383.3853 | 6383.3853 | 6383.3853 | 6383.3853 | 6383.3853 | 6383.3853 | 6383.3853 | 6383.3853 | 6383.3853 | 6383.3853 | 6383.3853 | 6383.3853 | 6383.3853 | 6383.3853 | 6383.3853 | 6383.3853
hydro | NPD 2 - Moderate | 5810.1031 | 5810.1031 | 5810.1031 | 5810.1031 | 5810.1031 | 5810.1031 | 5810.1031 | 5810.1031 | 5810.1031 | 5810.1031 | 5810.1031 | 5810.1031 | 5810.1031 | 5810.1031 | 5810.1031 | 5810.1031 | 5810.1031 | 5810.1031 | 5810.1031 | 5810.1031 | 5810.1031 | 5810.1031 | 5810.1031 | 5810.1031 | 5810.1031 | 5810.1031 | 5810.1031 | 5810.1031 | 5810.1031 | 5810.1031 | 5810.1031 | 5810.1031 | 5810.1031
hydro | NPD 3 - Moderate | 4275.091 | 4275.091 | 4275.091 | 4275.091 | 4275.091 | 4275.091 | 4275.091 | 4275.091 | 4275.091 | 4275.091 | 4275.091 | 4275.091 | 4275.091 | 4275.091 | 4275.091 | 4275.091 | 4275.091 | 4275.091 | 4275.091 | 4275.091 | 4275.091 | 4275.091 | 4275.091 | 4275.091 | 4275.091 | 4275.091 | 4275.091 | 4275.091 | 4275.091 | 4275.091 | 4275.091 | 4275.091 | 4275.091
hydro | NPD 4 - Moderate | 4030.6617 | 4030.6617 | 4030.6617 | 4030.6617 | 4030.6617 | 4030.6617 | 4030.6617 | 4030.6617 | 4030.6617 | 4030.6617 | 4030.6617 | 4030.6617 | 4030.6617 | 4030.6617 | 4030.6617 | 4030.6617 | 4030.6617 | 4030.6617 | 4030.6617 | 4030.6617 | 4030.6617 | 4030.6617 | 4030.6617 | 4030.6617 | 4030.6617 | 4030.6617 | 4030.6617 | 4030.6617 | 4030.6617 | 4030.6617 | 4030.6617 | 4030.6617 | 4030.6617
hydro | NSD 1 - Moderate | 7484.3039 | 7484.3039 | 7484.3039 | 7484.3039 | 7484.3039 | 7484.3039 | 7484.3039 | 7484.3039 | 7484.3039 | 7484.3039 | 7484.3039 | 7484.3039 | 7484.3039 | 7484.3039 | 7484.3039 | 7484.3039 | 7484.3039 | 7484.3039 | 7484.3039 | 7484.3039 | 7484.3039 | 7484.3039 | 7484.3039 | 7484.3039 | 7484.3039 | 7484.3039 | 7484.3039 | 7484.3039 | 7484.3039 | 7484.3039 | 7484.3039 | 7484.3039 | 7484.3039
hydro | NSD 2 - Moderate | 6681.424 | 6681.424 | 6681.424 | 6681.424 | 6681.424 | 6681.424 | 6681.424 | 6681.424 | 6681.424 | 6681.424 | 6681.424 | 6681.424 | 6681.424 | 6681.424 | 6681.424 | 6681.424 | 6681.424 | 6681.424 | 6681.424 | 6681.424 | 6681.424 | 6681.424 | 6681.424 | 6681.424 | 6681.424 | 6681.424 | 6681.424 | 6681.424 | 6681.424 | 6681.424 | 6681.424 | 6681.424 | 6681.424
hydro | NSD 3 - Moderate | 6544.0703 | 6544.0703 | 6544.0703 | 6544.0703 | 6544.0703 | 6544.0703 | 6544.0703 | 6544.0703 | 6544.0703 | 6544.0703 | 6544.0703 | 6544.0703 | 6544.0703 | 6544.0703 | 6544.0703 | 6544.0703 | 6544.0703 | 6544.0703 | 6544.0703 | 6544.0703 | 6544.0703 | 6544.0703 | 6544.0703 | 6544.0703 | 6544.0703 | 6544.0703 | 6544.0703 | 6544.0703 | 6544.0703 | 6544.0703 | 6544.0703 | 6544.0703 | 6544.0703
hydro | NSD 4 - Moderate | 5891.1502 | 5891.1502 | 5891.1502 | 5891.1502 | 5891.1502 | 5891.1502 | 5891.1502 | 5891.1502 | 5891.1502 | 5891.1502 | 5891.1502 | 5891.1502 | 5891.1502 | 5891.1502 | 5891.1502 | 5891.1502 | 5891.1502 | 5891.1502 | 5891.1502 | 5891.1502 | 5891.1502 | 5891.1502 | 5891.1502 | 5891.1502 | 5891.1502 | 5891.1502 | 5891.1502 | 5891.1502 | 5891.1502 | 5891.1502 | 5891.1502 | 5891.1502 | 5891.1502
nuclear | Nuclear - Moderate | 6124.7278 | 6093.46 | 6062.1922 | 6030.9244 | 5999.6566 | 5968.3888 | 5937.121 | 5905.8532 | 5874.5854 | 5839.7036 | 5807.6285 | 5773.9828 | 5734.4726 | 5696.4544 | 5656.5285 | 5615.7554 | 5581.0277 | 5544.6677 | 5500.6061 | 5464.5911 | 5426.4929 | 5384.1805 | 5340.8658 | 5306.9026 | 5265.6299 | 5227.9831 | 5190.0827 | 5155.0778 | 5110.6804 | 5073.0542 | 5035.2095 | 4997.2531 | 4916.4581
solar thermal | 10hrs TES - Class 1 - Moderate | 2100 | 2031.3333 | 1962.6667 | 1894 | 1919.7724 | 1834.7452 | 1737.4248 | 1690.3012 | 1626.7869 | 1563.2725 | 1513.0757 | 1438.2927 | 1383.9982 | 1352.241 | 1332.7769 | 1317.4105 | 1281.5557 | 1262.0916 | 1236.481 | 1220.0902 | 1209.8459 | 1202.6749 | 1189.3574 | 1182.1864 | 1177.0643 | 1176.0399 | 1171.9422 | 1168.8689 | 1165.7956 | 1163.7468 | 1159.6491 | 1154.527 | 1148.3804
biomass | Dedicated - Moderate | 4020.4635 | 4008.5394 | 3996.6153 | 3984.6912 | 3972.7671 | 3960.843 | 3948.9189 | 3926.8872 | 3912.8331 | 3896.3853 | 3881.8211 | 3866.2216 | 3846.7003 | 3828.1795 | 3808.3753 | 3787.9972 | 3771.699 | 3754.3063 | 3731.694 | 3714.5372 | 3695.969 | 3674.5261 | 3652.3876 | 3636.6443 | 3615.8949 | 3597.6331 | 3579.199 | 3562.7686 | 3539.8436 | 3521.6015 | 3503.2102 | 3484.7436 | 3436.3375
biomass | CofireOld - Moderate | 3915.692 | 3910.6878 | 3905.6836 | 3900.6794 | 3895.6752 | 3890.671 | 3885.6668 | 3871.5231 | 3864.6119 | 3855.5387 | 3848.1887 | 3839.9072 | 3828.0521 | 3817.111 | 3804.9949 | 3792.3479 | 3783.4513 | 3773.5545 | 3758.8426 | 3749.1652 | 3738.1863 | 3724.5392 | 3710.2368 | 3701.8833 | 3688.8669 | 3678.1711 | 3667.3162 | 3658.3445 | 3643.2716 | 3632.5983 | 3621.7872 | 3610.907 | 3571.6328
biomass | CofireNew - Moderate | 3915.692 | 3910.6878 | 3905.6836 | 3900.6794 | 3895.6752 | 3890.671 | 3885.6668 | 3871.5231 | 3864.6119 | 3855.5387 | 3848.1887 | 3839.9072 | 3828.0521 | 3817.111 | 3804.9949 | 3792.3479 | 3783.4513 | 3773.5545 | 3758.8426 | 3749.1652 | 3738.1863 | 3724.5392 | 3710.2368 | 3701.8833 | 3688.8669 | 3678.1711 | 3667.3162 | 3658.3445 | 3643.2716 | 3632.5983 | 3621.7872 | 3610.907 | 3571.6328
geothermal | Hydro / Flash - Moderate | 4521.7136 | 4464.93 | 4407.4 | 4349.87 | 4292.34 | 4234.81 | 4177.28 | 4119.75 | 4062.22 | 4004.69 | 3947.16 | 3889.63 | 3831.3489 | 3812.1922 | 3793.1312 | 3774.1655 | 3755.2947 | 3736.5182 | 3717.8357 | 3699.2465 | 3680.7502 | 3662.3465 | 3644.0348 | 3625.8146 | 3607.6855 | 3589.6471 | 3571.6988 | 3553.8404 | 3536.0712 | 3518.3908 | 3500.7988 | 3483.2948 | 3465.8784
geothermal | Hydro / Binary - Moderate | 5870.2421 | 5822.507 | 5775.06 | 5727.613 | 5680.166 | 5632.719 | 5585.272 | 5537.825 | 5490.378 | 5442.931 | 5395.484 | 5348.037 | 5300.59 | 5274.087 | 5247.7166 | 5221.478 | 5195.3706 | 5169.3938 | 5143.5468 | 5117.8291 | 5092.2399 | 5066.7787 | 5041.4448 | 5016.2376 | 4991.1564 | 4966.2007 | 4941.3696 | 4916.6628 | 4892.0795 | 4867.6191 | 4843.281 | 4819.0646 | 4794.9693
geothermal | NF EGS / Flash - Moderate | 14485.8819 | 14087.1079 | 13688.3389 | 13289.5699 | 12890.8009 | 12492.032 | 12093.263 | 11694.494 | 11295.725 | 10896.9561 | 10498.1871 | 10099.4181 | 9700.6491 | 9652.1459 | 9603.8851 | 9555.8657 | 9508.0864 | 9460.5459 | 9413.2432 | 9366.177 | 9319.3461 | 9272.7494 | 9226.3856 | 9180.2537 | 9134.3524 | 9088.6807 | 9043.2373 | 8998.0211 | 8953.031 | 8908.2658 | 8863.7245 | 8819.4059 | 8775.3089
geothermal | NF EGS / Binary - Moderate | 32921.4527 | 32243.6294 | 31565.8016 | 30887.9738 | 30210.146 | 29532.3182 | 28854.4904 | 28176.6626 | 27498.8348 | 26821.007 | 26143.1792 | 25465.3514 | 24787.5236 | 24663.586 | 24540.2681 | 24417.5667 | 24295.4789 | 24174.0015 | 24053.1315 | 23932.8658 | 23813.2015 | 23694.1355 | 23575.6648 | 23457.7865 | 23340.4975 | 23223.7951 | 23107.6761 | 22992.1377 | 22877.177 | 22762.7911 | 22648.9772 | 22535.7323 | 22423.0536
geothermal | Deep EGS / Flash - Moderate | 14485.8819 | 14087.1079 | 13688.3389 | 13289.5699 | 12890.8009 | 12492.032 | 12093.263 | 11694.494 | 11295.725 | 10896.9561 | 10498.1871 | 10099.4181 | 9700.6491 | 9652.1459 | 9603.8851 | 9555.8657 | 9508.0864 | 9460.5459 | 9413.2432 | 9366.177 | 9319.3461 | 9272.7494 | 9226.3856 | 9180.2537 | 9134.3524 | 9088.6807 | 9043.2373 | 8998.0211 | 8953.031 | 8908.2658 | 8863.7245 | 8819.4059 | 8775.3089
geothermal | Deep EGS / Binary - Moderate | 32921.4527 | 32243.6294 | 31565.8016 | 30887.9738 | 30210.146 | 29532.3182 | 28854.4904 | 28176.6626 | 27498.8348 | 26821.007 | 26143.1792 | 25465.3514 | 24787.5236 | 24663.586 | 24540.2681 | 24417.5667 | 24295.4789 | 24174.0015 | 24053.1315 | 23932.8658 | 23813.2015 | 23694.1355 | 23575.6648 | 23457.7865 | 23340.4975 | 23223.7951 | 23107.6761 | 22992.1377 | 22877.177 | 22762.7911 | 22648.9772 | 22535.7323 | 22423.0536
natural gas peaker | Gas-CT-AvgCF - Moderate | 943.2428 | 938.7535 | 934.2642 | 929.7748 | 925.2855 | 914.6525 | 898.2122 | 887.3566 | 880.8081 | 873.7398 | 869.1271 | 866.0214 | 861.7043 | 858.0048 | 854.0472 | 849.5303 | 846.2652 | 843.911 | 840.7272 | 838.7715 | 836.4984 | 833.5735 | 830.4878 | 828.8562 | 826.0844 | 823.8803 | 821.6374 | 819.8562 | 816.5796 | 814.3814 | 812.1495 | 809.9006 | 800.6763
Fraction of Start Year Costs
| 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
coal | 1 | 0.99626 | 0.99253 | 0.98879 | 0.98505 | 0.98132 | 0.97758 | 0.97134 | 0.96707 | 0.96221 | 0.95782 | 0.95316 | 0.94754 | 0.94217 | 0.93648 | 0.93065 | 0.92582 | 0.92072 | 0.91434 | 0.9093 | 0.90391 | 0.89783 | 0.89157 | 0.88687 | 0.88095 | 0.87564 | 0.87029 | 0.86542 | 0.85897 | 0.85367 | 0.84832 | 0.84296 | 0.83036
natural gas nonpeaker | 1 | 0.9854 | 0.9708 | 0.9562 | 0.9416 | 0.927 | 0.90563 | 0.8905 | 0.8799 | 0.86878 | 0.86027 | 0.85342 | 0.84534 | 0.83791 | 0.83022 | 0.82195 | 0.81493 | 0.80892 | 0.80216 | 0.79658 | 0.79069 | 0.78419 | 0.77754 | 0.77225 | 0.76591 | 0.76008 | 0.75422 | 0.74879 | 0.74198 | 0.73616 | 0.73031 | 0.72445 | 0.71237
nuclear | 1 | 0.99489 | 0.98979 | 0.98468 | 0.97958 | 0.97447 | 0.96937 | 0.96426 | 0.95916 | 0.95346 | 0.94823 | 0.94273 | 0.93628 | 0.93007 | 0.92356 | 0.9169 | 0.91123 | 0.90529 | 0.8981 | 0.89222 | 0.886 | 0.87909 | 0.87202 | 0.86647 | 0.85973 | 0.85359 | 0.8474 | 0.84168 | 0.83443 | 0.82829 | 0.82211 | 0.81591 | 0.80272
hydro | 1 | bar: 2018 to 2049
solar thermal | 1 | 0.9673 | 0.9346 | 0.9019 | 0.91418 | 0.87369 | 0.82735 | 0.80491 | 0.77466 | 0.74442 | 0.72051 | 0.6849 | 0.65905 | 0.64392 | 0.63466 | 0.62734 | 0.61026 | 0.601 | 0.5888 | 0.581 | 0.57612 | 0.5727 | 0.56636 | 0.56295 | 0.56051 | 0.56002 | 0.55807 | 0.5566 | 0.55514 | 0.55417 | 0.55221 | 0.54977 | 0.54685
biomass | 1 | 0.99815 | 0.9963 | 0.99445 | 0.9926 | 0.99075 | 0.9889 | 0.98465 | 0.9823 | 0.97938 | 0.97691 | 0.9742 | 0.97055 | 0.96714 | 0.96342 | 0.95957 | 0.95669 | 0.95356 | 0.94917 | 0.94609 | 0.94267 | 0.93855 | 0.93427 | 0.93154 | 0.92759 | 0.92424 | 0.92085 | 0.91795 | 0.91348 | 0.91014 | 0.90676 | 0.90337 | 0.89265
geothermal | 1 | 0.97854 | 0.95708 | 0.93561 | 0.91415 | 0.89268 | 0.87122 | 0.84976 | 0.82829 | 0.80683 | 0.78536 | 0.7639 | 0.74243 | 0.73872 | 0.73502 | 0.73135 | 0.72769 | 0.72405 | 0.72043 | 0.71683 | 0.71324 | 0.70968 | 0.70613 | 0.7026 | 0.69909 | 0.69559 | 0.69211 | 0.68865 | 0.68521 | 0.68178 | 0.67837 | 0.67498 | 0.67161
natural gas peaker | 1 | 0.99524 | 0.99048 | 0.98572 | 0.98096 | 0.96969 | 0.95226 | 0.94075 | 0.93381 | 0.92631 | 0.92142 | 0.91813 | 0.91356 | 0.90963 | 0.90544 | 0.90065 | 0.89719 | 0.89469 | 0.89132 | 0.88924 | 0.88683 | 0.88373 | 0.88046 | 0.87873 | 0.87579 | 0.87346 | 0.87108 | 0.86919 | 0.86572 | 0.86338 | 0.86102 | 0.85863 | 0.84885

## Soft Cost Data
Onshore Wind
Category | Item | Cost %
Turbine | Rotor | 15%
Turbine | Drivetrain | 37%
Turbine | Tower | 16%
Balance of Plant | Foundations | 4%
Balance of Plant | Turbine transporation | 3%
Balance of Plant | Roads and civil work | 3%
Balance of Plant | Assembly and installation | 3%
Balance of Plant | Electrical interface | 8%
Balance of Plant | Development | 2%
Balance of Plant | Project management | 0%
Other | Construction finance | 3%
Other | Contingency | 6%
Cost share not subject to R&D-driven reductions (Soft Costs under EPS definition)
24%
Offshore Wind
Fixed substructure, Balance of System Components
Item | Cost %
Electrical infrastructure | 31%
Assembly and installation | 32%
Substructure and foundation | 28%
Plant commissioning | 2%
Development | 3%
Engineering and management | 4%
Port & staging | 1%
Technology Cost Share | 30%
Balance of System Cost Share | 70%
Cost share not subject to R&D-driven reductions (Soft Costs under EPS definition)
29.4% | We treat substructure and foundation as an R&D-driven cost for offshore turbines.
Floating substructure, Balance of System Components
Item | Cost %
Electrical infrastructure | 28%
Assembly and installation | 21%
Substructure and foundation | 43%
Plant commissioning | 2%
Development | 2%
Engineering and management | 2%
Port & staging | 2%
Technology Cost Share | 30%
Balance of System Cost Share | 70%
Cost share not subject to R&D-driven reductions (Soft Costs under EPS definition)
20.3% | We treat substructure and foundation as an R&D-driven cost for offshore turbines.
Average EPS Soft Costs for fixed and floating offshore turbines
24.85%
Solar PV
Solar PV Type | Non-Hardware Cost %
Residential | 63%
Commercial | 56%
Utility-Scale | 35%
This variable refers to utility-scale solar PV, so we use the utility-scale figure.
Cost share not subject to R&D-driven reductions (Soft Costs under EPS definition)
35%

## CCaMC-AFOaMCpUC
Fixed O&M ($/MW) | preexisting retiring | preexisting nonretiring | newly built
hard coal | 30723.76 | 0 | 48554.86
natural gas nonpeaker | 10359.019 | 0 | 12836.772
nuclear | 108774.74 | 0 | 108774.74
hydro | 37383.74 | 0 | 37383.74
onshore wind | 39314.9 | 0 | 39314.9
solar PV | 14628.8 | 0 | 14628.8
solar thermal | 76356.94 | 0 | 76356.94
biomass | 112420.62 | 0 | 112420.62
geothermal | 101734.42 | 0 | 101734.42
petroleum | 14803.3764 | 0 | 6259.06
natural gas peaker | 16484.829 | 0 | 6259.06
lignite | 30723.76 | 0 | 48554.86
offshore wind | 104391.0964 | 0 | 104391.0964
crude oil | 14803.3764 | 0 | 6259.06
heavy or residual fuel oil | 14803.3764 | 0 | 6259.06
municipal solid waste | 17977.96 | 0 | 17977.96

## CCaMC-VOaMCpUC
Variable O&M ($/MWh) | preexisting retiring | preexisting nonretiring | newly built
coal | 4.4074 | 0 | 6.3309
natural gas nonpeaker | 3.3006 | 0 | 2.3223
nuclear | 2.1193 | 0 | 2.1193
hydro | 1.2482 | 0 | 1.2482
onshore wind | 0 | 0 | 0
solar PV | 0 | 0 | 0
solar thermal | 0 | 0 | 0
biomass | 4.3194 | 0 | 4.3194
geothermal | 1.0606 | 0 | 1.0606
petroleum | 3.3006 | 0 | 4.0961
natural gas peaker | 3.3006 | 0 | 4.0961
lignite | 7.4667 | 0 | 10.7253
offshore wind | 0 | 0 | 0
crude oil | 3.3006 | 0 | 4.0961
heavy or residual fuel oil | 3.3006 | 0 | 4.0961
municipal solid waste | 5.5407 | 0 | 5.5407

## CCaMC-BCCpUC
Unit: $/MW | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Hard Coal | 4569731.1322 | 4552590.2644 | 4535449.3966 | 4518308.5288 | 4501167.6611 | 4484026.7933 | 4455404.6167 | 4435833.0454 | 4413541.2713 | 4393376.728 | 4372032.3023 | 4346250.2432 | 4321599.0701 | 4295500.0117 | 4268755.1337 | 4246607.2219 | 4223222.1711 | 4193968.2852 | 4170847.122 | 4146139.0024 | 4118208.6763 | 4089504.5676 | 4067960.8777 | 4040816.0985 | 4016452.2938 | 3991895.4749 | 3969568.9164 | 3940008.1348 | 3915663.3843 | 3891151.7937 | 3866554.4845 | 3808772.4759
Natural Gas Nonpeaker | 972127.0623 | 957724.4245 | 943321.7868 | 928919.149 | 914516.5113 | 893433.4834 | 878508.682 | 868050.459 | 857074.9531 | 848685.7396 | 841926.1274 | 833953.0153 | 826618.5514 | 819039.0364 | 810876.9701 | 803948.1277 | 798020.5634 | 791354.1475 | 785845.6506 | 780037.4603 | 773623.5131 | 767066.136 | 761851.8614 | 755588.1156 | 749844.7702 | 744064.8341 | 738699.818 | 731989.0839 | 726248.2937 | 720476.2893 | 714688.1476 | 702776.3901
Nuclear | 5643706.0602 | 5614746.1203 | 5585786.1805 | 5556826.2406 | 5527866.3008 | 5498906.361 | 5469946.4211 | 5440986.4813 | 5408679.294 | 5378971.6359 | 5347809.2766 | 5311215.3098 | 5276003.1803 | 5239024.2125 | 5201260.4882 | 5169096.0106 | 5135419.7568 | 5094610.2623 | 5061253.5429 | 5025967.3677 | 4986777.9693 | 4946660.3178 | 4915203.8863 | 4876977.5132 | 4842109.3744 | 4807006.4099 | 4774585.2452 | 4733464.725 | 4698615.6633 | 4663564.2811 | 4628409.4459 | 4553577.8858
Hydro | 2471296 | 2471296 | 2471296 | 2471296 | 2471296 | 2471296 | 2471296 | 2471296 | 2471296 | 2471296 | 2471296 | 2471296 | 2471296 | 2471296 | 2471296 | 2471296 | 2471296 | 2471296 | 2471296 | 2471296 | 2471296 | 2471296 | 2471296 | 2471296 | 2471296 | 2471296 | 2471296 | 2471296 | 2471296 | 2471296 | 2471296 | 2471296
Onshore Wind | 1370950.6181 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar PV | 1257162.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar Thermal | 6246367.4114 | 6035216.8229 | 5824066.2343 | 5903316.7389 | 5641857.1395 | 5342596.1522 | 5197690.832 | 5002383.6614 | 4807076.4907 | 4652720.8236 | 4422762.3807 | 4255806.251 | 4158152.6656 | 4098300.4682 | 4051048.7333 | 3940794.6854 | 3880942.4879 | 3802189.5965 | 3751787.746 | 3720286.5895 | 3698235.7799 | 3657284.2764 | 3635233.4668 | 3619482.8885 | 3616332.7728 | 3603732.3102 | 3594281.9633 | 3584831.6163 | 3578531.385 | 3565930.9223 | 3550180.3441 | 3531279.6501
Biomass | 3678571.9804 | 3671751.9607 | 3664931.9411 | 3658111.9214 | 3651291.9018 | 3644471.8822 | 3628824.8406 | 3620156.5771 | 3609399.2863 | 3600299.4359 | 3590298.3395 | 3576855.2863 | 3564291.7655 | 3550598.4199 | 3536396.4595 | 3525795.5756 | 3514232.3072 | 3498051.4009 | 3486697.9513 | 3474096.1759 | 3458941.1316 | 3443162.2178 | 3433071.6679 | 3418524.5435 | 3406194.1028 | 3393711.1405 | 3383022.42 | 3366519.7612 | 3354209.5018 | 3341767.0647 | 3329258.2767 | 3289781.1325
Geothermal | 2354993.978 | 2303337.5011 | 2251681.0242 | 2200024.5473 | 2148368.0705 | 2096711.5936 | 2045055.1167 | 1993398.6399 | 1941742.163 | 1890085.6861 | 1838429.2092 | 1786755.5508 | 1777821.7731 | 1768932.6642 | 1760088.0009 | 1751287.5609 | 1742531.1231 | 1733818.4675 | 1725149.3751 | 1716523.6282 | 1707941.0101 | 1699401.3051 | 1690904.2985 | 1682449.777 | 1674037.5282 | 1665667.3405 | 1657339.0038 | 1649052.3088 | 1640807.0472 | 1632603.012 | 1624439.997 | 1616317.797
Petroleum | 634545.4694 | 631510.9388 | 628476.4082 | 625441.8776 | 618254.5704 | 607141.7837 | 599804.0306 | 595377.5693 | 590599.8371 | 587481.8734 | 585382.5971 | 582464.4871 | 579963.8218 | 577288.7209 | 574235.5079 | 572028.538 | 570437.1998 | 568285.1431 | 566963.199 | 565426.6841 | 563449.5931 | 561363.8792 | 560261.0009 | 558387.3889 | 556897.583 | 555381.5053 | 554177.4723 | 551962.6825 | 550476.7916 | 548968.1754 | 547448.0647 | 541212.9286
Natural Gas Peaker | 634545.4694 | 631510.9388 | 628476.4082 | 625441.8776 | 618254.5704 | 607141.7837 | 599804.0306 | 595377.5693 | 590599.8371 | 587481.8734 | 585382.5971 | 582464.4871 | 579963.8218 | 577288.7209 | 574235.5079 | 572028.538 | 570437.1998 | 568285.1431 | 566963.199 | 565426.6841 | 563449.5931 | 561363.8792 | 560261.0009 | 558387.3889 | 556897.583 | 555381.5053 | 554177.4723 | 551962.6825 | 550476.7916 | 548968.1754 | 547448.0647 | 541212.9286
Lignite | 5296054.619 | 5276189.3426 | 5256324.0662 | 5236458.7898 | 5216593.5134 | 5196728.237 | 5163556.7863 | 5140874.4649 | 5115039.5854 | 5091670.0435 | 5066933.0862 | 5037053.1679 | 5008483.8811 | 4978236.5788 | 4947240.809 | 4921572.6575 | 4894470.7334 | 4860567.1682 | 4833771.0745 | 4805135.7901 | 4772766.1543 | 4739499.7491 | 4714531.856 | 4683072.6236 | 4654836.3803 | 4626376.4446 | 4600501.252 | 4566242.0123 | 4538027.8517 | 4509620.333 | 4481113.4714 | 4414147.4586
Offshore Wind | 3132342.7308 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Crude Oil | 634545.4694 | 631510.9388 | 628476.4082 | 625441.8776 | 618254.5704 | 607141.7837 | 599804.0306 | 595377.5693 | 590599.8371 | 587481.8734 | 585382.5971 | 582464.4871 | 579963.8218 | 577288.7209 | 574235.5079 | 572028.538 | 570437.1998 | 568285.1431 | 566963.199 | 565426.6841 | 563449.5931 | 561363.8792 | 560261.0009 | 558387.3889 | 556897.583 | 555381.5053 | 554177.4723 | 551962.6825 | 550476.7916 | 548968.1754 | 547448.0647 | 541212.9286
Heavy or Residual Fuel Oil | 634545.4694 | 631510.9388 | 628476.4082 | 625441.8776 | 618254.5704 | 607141.7837 | 599804.0306 | 595377.5693 | 590599.8371 | 587481.8734 | 585382.5971 | 582464.4871 | 579963.8218 | 577288.7209 | 574235.5079 | 572028.538 | 570437.1998 | 568285.1431 | 566963.199 | 565426.6841 | 563449.5931 | 561363.8792 | 560261.0009 | 558387.3889 | 556897.583 | 555381.5053 | 554177.4723 | 551962.6825 | 550476.7916 | 548968.1754 | 547448.0647 | 541212.9286
Municipal Solid Waste | 1395598.5803 | 1393011.1605 | 1390423.7408 | 1387836.3211 | 1385248.9013 | 1382661.4816 | 1376725.2136 | 1373436.5961 | 1369355.431 | 1365903.0755 | 1362108.7999 | 1357008.6941 | 1352242.2707 | 1347047.2076 | 1341659.1831 | 1337637.3565 | 1333250.4148 | 1327111.606 | 1322804.2666 | 1318023.3299 | 1312273.7188 | 1306287.4204 | 1302459.2074 | 1296940.2325 | 1292262.2364 | 1287526.3757 | 1283471.2251 | 1277210.348 | 1272540.0084 | 1267819.5223 | 1263073.8637 | 1248096.7893

## CCaMC-BSCpUC
Unit: $/MW | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Hard Coal (NOT USED) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Natural Gas Nonpeaker (NOT USED) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Nuclear (NOT USED) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hydro (NOT USED) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Onshore Wind | 329028.1484 | 329028.1484 | 329028.1484 | 329028.1484 | 329028.1484 | 329028.1484 | 329028.1484 | 329028.1484 | 329028.1484 | 329028.1484 | 329028.1484 | 329028.1484 | 329028.1484 | 329028.1484 | 329028.1484 | 329028.1484 | 329028.1484 | 329028.1484 | 329028.1484 | 329028.1484 | 329028.1484 | 329028.1484 | 329028.1484 | 329028.1484 | 329028.1484 | 329028.1484 | 329028.1484 | 329028.1484 | 329028.1484 | 329028.1484 | 329028.1484 | 329028.1484
Solar PV | 440006.875 | 440006.875 | 440006.875 | 440006.875 | 440006.875 | 440006.875 | 440006.875 | 440006.875 | 440006.875 | 440006.875 | 440006.875 | 440006.875 | 440006.875 | 440006.875 | 440006.875 | 440006.875 | 440006.875 | 440006.875 | 440006.875 | 440006.875 | 440006.875 | 440006.875 | 440006.875 | 440006.875 | 440006.875 | 440006.875 | 440006.875 | 440006.875 | 440006.875 | 440006.875 | 440006.875 | 440006.875
Solar Thermal (NOT USED) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Biomass (NOT USED) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Geothermal (NOT USED) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Petroleum (NOT USED) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Natural Gas Peaker (NOT USED) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Lignite (NOT USED) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Offshore Wind | 778387.1686 | 778387.1686 | 778387.1686 | 778387.1686 | 778387.1686 | 778387.1686 | 778387.1686 | 778387.1686 | 778387.1686 | 778387.1686 | 778387.1686 | 778387.1686 | 778387.1686 | 778387.1686 | 778387.1686 | 778387.1686 | 778387.1686 | 778387.1686 | 778387.1686 | 778387.1686 | 778387.1686 | 778387.1686 | 778387.1686 | 778387.1686 | 778387.1686 | 778387.1686 | 778387.1686 | 778387.1686 | 778387.1686 | 778387.1686 | 778387.1686 | 778387.1686
Crude Oil (NOT USED) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Heavy or Residual Fuel Oil (NOT USED) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Municipal Solid Waste (NOT USED) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0