## About
PTCF Peak Time Capacity Factors
Source: | California Market | Texas Market - Solar | Texas Market - Wind
| California Independent System Operator | Electric Reliability Council of Texas | Electric Reliability Council of Texas
| 2014 | 2016 | 2016
| Final 2016 Net Qualifying Capacity for Resource Adequacy Resources | CDR Peak Ave Solar Capacity Percentages 02-24-2016 | CDR Peak Ave Wind Capacity Percentages 04-12-2016
| http://www.elabs7.com/c.html?ufl=7&rtr=on&s=lgl3,1998c,7k2,8gcf,l8p0,b589,diqv | http://www.ercot.com/content/gridinfo/resource/2016/windsolar/CDR_PeakAveSolarCapacityPercentages_02-24-2016.xls | http://www.ercot.com/content/wcm/lists/91622/CDR_PeakAveWindCapacityPercentages_4_12_2016.xlsx
| 2016 Technology Factors | Summary Tab | Summary Tab
| Midwest Market | New York Market - Solar | New York Market - Wind
| Midcontinent Independent System Operator | New York State Reliability Council, LLC | New York State Reliability Council, LLC
| 2015 | 2015 | 2015
| Planning Year 2016-2017 Wind Capacity Credit | New York Control Area Installed Capacity Requirement | New York Control Area Installed Capacity Requirement
| https://www.misoenergy.org/Library/Repository/Report/2016%20Wind%20Capacity%20Report.pdf | http://www.nysrc.org/pdf/Reports/2106%20IRM%20Study%20Appendices%20%20Final%2012-15-15.pdf | http://www.nysrc.org/pdf/Reports/2106%20IRM%20Study%20Appendices%20%20Final%2012-15-15.pdf
| P. 8 "Market-wide Operational Tracking" table | p. 22 | p.21
| New England Market | Southwest Market | Mid-Atlantic Market
| ISO New England | Southwest Power Pool | PJM
| 2015 | 2015 | 2014
| Intermittent Resource Review | 2014 State of the Market | Manual 21
| http://www.iso-ne.com/static-assets/documents/2015/12/vrwg_intermittent_resource_qual_tool_status_update_12072015.pdf | https://www.spp.org/documents/29399/2014%20state%20of%20the%20market%20report.pdf | https://www.pjm.com/~/media/documents/manuals/m21.ashx
| pp. 4 & 7 | p. 23 | p. 19
Notes
Peak time capacity factors are meant to represent the average availability of resources to meeting peak
during the peak hours of the year. For non-intermittent resources, we use the net summer capacity.
EIA defines net summer capacity as, "the maximum output, commonly expressed in megawatts (MW),
that generating equipment can supply to system load, as demonstrated by a multi-hour test,
at the time of summer peak demand (period of June 1 through September 30.)
This output reflects a reduction in capacity due to electricity use for station service or auxilliaries."
The US EPS works in units of net summer capacity. Therefore, peak time capacity factors for sources other than
wind and solar are assumed to be equal to 1.
For intermittent resources (i.e. wind and solar PV) we use values from each of the 7 U.S. regional markets.
As part of the resource planning process, operators of these markets are required to assess available resources during
peak hours of the year. The most accurate values are those based on historical performance, and are the ones used in
our analysis (i.e. SPP is excluded).
We also assume that as a whole, the U.S. is a summer peaking system, and we therefore use the summer capacity
values published by these grid operators. See NERC's Reliability Assessment for more information on these grid operators,
available at: http://www.nerc.com/pa/RAPA/ra/Reliability%20Assessments%20DL/2015LTRA%20-%20Final%20Report.pdf
Summer months include the three months with the highest solar irradiation (June, July, and August). Winter months include the three
months with the lowest solar irradiation (November, December, and January)
Summer or Winter Peaking?
Summer | <needs additional information if winter

## CAISO
2016 Technology Factors
Non-Dispatchable Solar, Wind, Biomass, Cogeneration, Geothermal, and
Hydro Technology Factors for Compliance Year 2016
Solar
| Month | 2012 | 2013 | 2014 | CY 2016 Solar Factor
| 1 | 0.6679% | 0.3447% | 0.2418% | 0.4181%
| 2 | 14.08% | 0.8097% | 1.383% | 5.423%
| 3 | 31.55% | 8.014% | 7.78% | 15.78%
| 4 | 88.42% | 73.85% | 75.74% | 79.34%
| 5 | 90.47% | 60.61% | 65.58% | 72.22%
| 6 | 100.2% | 92.93% | 99.17% | 97.45%
| 7 | 99.18% | 82.62% | 87.65% | 89.82%
| 8 | 93.99% | 92.55% | 94.29% | 93.61%
| 9 | 91.44% | 87.72% | 89.56% | 89.57%
| 10 | 44.37% | 51.78% | 48.69% | 48.28%
| 11 | 0.1866% | 0.214% | 0.4106% | 0.2704%
| 12 | 0.6198% | 0.1099% | 0.2167% | 0.3155%
Wind
| Month | 2012 | 2013 | 2014 | CY 2016 Wind Factor
| 1 | 5.679% | 3.092% | 2.625% | 3.799%
| 2 | 12.16% | 4.831% | 18.94% | 11.98%
| 3 | 19.84% | 22.25% | 17.5% | 19.86%
| 4 | 9.029% | 28.36% | 17.92% | 18.43%
| 5 | 26.38% | 32.83% | 33.94% | 31.05%
| 6 | 25.13% | 27.17% | 31.02% | 27.77%
| 7 | 13.16% | 19.34% | 19.37% | 17.29%
| 8 | 12.48% | 18.02% | 16.67% | 15.72%
| 9 | 6.194% | 16% | 9.861% | 10.68%
| 10 | 7.654% | 8.286% | 5.838% | 7.259%
| 11 | 2.713% | 2.582% | 4.381% | 3.225%
| 12 | 9.652% | 2.76% | 4.228% | 5.547%
Biomass
| Month | 2012 | 2013 | 2014 | CY 2016 Biomass Factor
| 1 | 78.91% | 72.65% | 71.7% | 74.42%
| 2 | 78.99% | 67.99% | 67.55% | 71.51%
| 3 | 76.67% | 72.08% | 72.32% | 73.69%
| 4 | 59.67% | 60.54% | 65.03% | 61.74%
| 5 | 67.46% | 67.52% | 62.66% | 65.88%
| 6 | 71.64% | 73.7% | 76.98% | 74.11%
| 7 | 76.6% | 74.3% | 77.26% | 76.05%
| 8 | 76.4% | 76.54% | 76.64% | 76.53%
| 9 | 76.83% | 71.13% | 76.54% | 74.84%
| 10 | 71.43% | 70.37% | 72.06% | 71.28%
| 11 | 67.96% | 68.93% | 69.16% | 68.68%
| 12 | 72.61% | 72.5% | 70.47% | 71.86%
Cogeneration
| Month | 2012 | 2013 | 2014 | CY 2016 Cogeneration Factor
| 1 | 0.6243 | 0.54797 | 0.57348 | 58.19%
| 2 | 0.6323 | 0.56452 | 0.55526 | 58.4%
| 3 | 0.59959 | 0.47967 | 0.52023 | 53.32%
| 4 | 0.57096 | 0.45965 | 0.52631 | 51.9%
| 5 | 0.5938 | 0.53205 | 0.53296 | 55.29%
| 6 | 0.70718 | 0.62505 | 0.63629 | 65.62%
| 7 | 0.70698 | 0.64017 | 0.66115 | 66.94%
| 8 | 0.72195 | 0.61275 | 0.63777 | 65.75%
| 9 | 0.70183 | 0.60659 | 0.61571 | 64.14%
| 10 | 0.60503 | 0.50445 | 0.53462 | 54.8%
| 11 | 0.58805 | 0.53439 | 0.53571 | 55.27%
| 12 | 0.61626 | 0.54738 | 0.56045 | 57.47%
Geothermal
| Month | 2012 | 2013 | 2014 | CY 2016 Geothermal Factor
| 1 | 86.07% | 85.57% | 82.27% | 84.63%
| 2 | 86.65% | 85.52% | 82.49% | 84.89%
| 3 | 84.18% | 83.8% | 80.64% | 82.87%
| 4 | 84.02% | 76.08% | 81.2% | 80.43%
| 5 | 84.11% | 77.72% | 80.58% | 80.8%
| 6 | 81.59% | 77.3% | 76.28% | 78.39%
| 7 | 83.24% | 79.35% | 76.66% | 79.75%
| 8 | 82% | 78.81% | 76.93% | 79.25%
| 9 | 83.41% | 78.95% | 76.42% | 79.59%
| 10 | 85.1% | 80.1% | 77.82% | 81.01%
| 11 | 86.05% | 81.29% | 81.13% | 82.82%
| 12 | 85.93% | 85.16% | 78.78% | 83.29%
Hydro
| Month | 2012 | 2013 | 2014 | CY 2016 Hydro Factor
| 1 | 31.3% | 41.57% | 22.52% | 31.8%
| 2 | 28.39% | 38.47% | 21.35% | 29.41%
| 3 | 32.44% | 39.94% | 23.47% | 31.95%
| 4 | 38.3% | 35.71% | 25.31% | 33.11%
| 5 | 57.82% | 45.27% | 37.01% | 46.7%
| 6 | 58.14% | 50.6% | 43.17% | 50.64%
| 7 | 59.49% | 57.25% | 47.98% | 54.91%
| 8 | 55.63% | 51.86% | 41.45% | 49.64%
| 9 | 48.54% | 41.23% | 32.03% | 40.6%
| 10 | 33.49% | 27.35% | 19.93% | 26.93%
| 11 | 35.46% | 30.17% | 19.54% | 28.39%
| 12 | 36.85% | 23.78% | 29.08% | 29.9%
Please refer any questions regarding these tables to the following contact.
Donald Brooks, CPUC, 415-703-2626, donald.brooks@cpuc.ca.gov
PV
| Month | 2012 | 2013 | 2014 | CY 2016 PV Factor
| 1 | 0.2638% | 0.196% | 0.2743% | 0.2447%
| 2 | 1.089% | 0.6032% | 2.08% | 1.257%
| 3 | 3.811% | 6.894% | 7.974% | 6.226%
| 4 | 59.37% | 73.51% | 82.14% | 71.68%
| 5 | 72.58% | 66.63% | 82.7% | 73.97%
| 6 | 67.88% | 74.63% | 84.5% | 75.67%
| 7 | 62.58% | 64.8% | 79.92% | 69.1%
| 8 | 49.07% | 77.39% | 81.26% | 69.24%
| 9 | 55.06% | 79.23% | 77.05% | 70.45%
| 10 | 44.24% | 62.05% | 60.47% | 55.59%
| 11 | 0.1218% | 0.1503% | 0.1528% | 0.1416%
| 12 | 0.09207% | 0.128% | 0.0963% | 0.1055%

## ERCOT
PEAK AVERAGE SOLAR CAPACITY PERCENTAGES, SUMMER & WINTER PEAK SEASONS
PRELIMINARY - NOT FOR PUBLIC RELEASE
Capacity Factor - Top 20 Hours
Summer Season
Year | Annual | *Avg
2015 | 83.4% | 80.36%
2014 | 79.82%
2013 | 77.86%
2012 | 80.24%
Capacity Factor - Top 20 Hours
Winter Season
Year | Annual | *Avg
2014-2015 | 4.637% | 5.457%
2013-2014 | 2.83%
2012-2013 | 8.902%
* SOLARPEAKPCT Values
* The methodology for calculating SOLARPEAKPCT values is done similarly to the WINDPEAKPCT as outlined in ERCOT Protocol Section 3.2.6.2.2. See: http://www.ercot.com/content/wcm/current_guides/53528/03_030116_Nodal.doc
PEAK AVERAGE WIND CAPACITY PERCENTAGES, SUMMER & WINTER PEAK SEASONS
Summer Peak Ave. Wind Capacity Percentages |  |  | WINDPEAKPCT Values *
Top Twenty Peak Hours for Each year |  |  | Summer, Non-Coastal | Summer, Coastal
Year | Non-Coastal | Coastal | 12.11% | 55.39%
2015 | 11.18% | 52.03% | Winter, Non-Coastal | Winter, Coastal
2014 | 19.99% | 60.04% | 19.65% | 35.25%
2013 | 12.56% | 76.61%
2012 | 8.096% | 52.84% | * The methodology for calculating WINDPEAKPCT values is outlined in ERCOT Protocol Section 3.2.6.2.2. See: http://www.ercot.com/content/wcm/current_guides/53528/03_030115_Nodal.doc.
2011 | 12.74% | 65.96%
2010 | 6.015% | 24.88%
2009 | 14.18% | #N/A
Winter Peak Ave. Wind Capacity Percentages
Top Twenty Peak Hours for Each year
Year | Non-Coastal | Coastal
2015/2016 | 29.54% | 27.02%
2014/2015 | 11.36% | 42.28%
2013/2014 | 17.48% | 43.66%
2012/2013 | 17.01% | 32.47%
2011/2012 | 20.53% | 15.74%
2010/2011 | 23.76% | 50.34%
2009/2010 | 17.85% | #N/A

## MISO-Wind
Planning Year | Historical Penetration (%) | Anuual Historical ELCC (%) | MISO Capacity Credit (%)
2005 | 80% | 16.7% | N/A
2006 | 1.1% | 39.6% | N/A
2007 | 2% | 2.8% | N/A
2008 | 3.2% | 12.8% | N/A
2009 | 6% | 3.1% | 20%
2010 | 7.6% | 18.9% | 8%
2011 | 9.7% | 30.1% | 12.9%
2012 | 12.2% | 11% | 14.7%
2013 | 13% | 22.4% | 13.3%
2014 | 11.8% | 16% | 14.1%
2015 | 12.2% | 26.1% | 14.7%
2016 | Pending | Pending | 15.6%
https://www.misoenergy.org/Library/Repository/Report/2016%20Wind%20Capacity%20Report.pdf

## CAISO - Peak
Year | Megawatts at Peak Load* | Date | Time | Month
1998 | 44659 | August 12 | 14:30 | 8
1999 | 45884 | July 12 | 16:52 | 7
2000 | 43784 | August 16 | 15:17 | 8
2001 | 41419 | August 7 | 16:17 | 8
2002 | 42441 | July 10 | 15:01 | 7
2003 | 42689 | July 17 | 15:22 | 7
2004 | 45597 | September 8 | 16:00 | 9
2005 | 45431 | July 20 | 15:22 | 7
2006 | 50270 | July 24 | 14:44 | 7
2007 | 48615 | August 31 | 15:27 | 8
2008 | 46897 | June 20 | 16:21 | 6
2009 | 46042 | September 3 | 16:17 | 9
2010 | 47350 | August 25 | 16:20 | 8
2011 | 45545 | September 7 | 16:30 | 9
2012 | 46846 | August 13 | 15:53 | 8
2013 | 45097 | June 28 | 16:54 | 6
2014 | 45089 | September 15 | 16:53 | 9
2015 | 47358 | September 10 | 16:53 | 9
Frequency
June | 2
July | 5
August | 6
September | 5

## Wind and Solar Capacity Factors
Electricity Source | Region | Peak Demand Capacity Factor | Include? | Source
solar pv | CAISO | 91.86% | 1 | See CAISO tab
wind | CAISO | 16.1% | 1 | See CAISO tab
solar pv | ERCOT | 80.36% | 1 | See ERCOT tab
wind | ERCOT | 33.75% | 1 | See ERCOT tab
wind | MISO | 15.6% | 1 | See MISO-Wind tab
solar pv | NYISO | 38.8% | 1 | See reference source
wind | NYISO | 14% | 1 | See reference source
solar pv | ISO-NE | 46% | 1 | See reference source
wind | ISO-NE | 10.5% | 1 | See reference source
wind | SPP | 5% | 0 | See reference source
solar pv | PJM | 38% | 1 | See reference source
wind | PJM | 13% | 1 | See reference source

## PTCF
Peak Time Capacity Factors
coal | 1
natural gas nonpeaker | 1
nuclear | 1
hydro | 1
wind | 0.17158
solar pv | 0.59004
solar thermal | 1
biomass | 1
geothermal | 1
petroleum | 1
natural gas nonpeaker | 1